## Log
Variable | Unit | Text | TECH | Sheet in technology data (2020) | Sheet in storage data (2020) | Sheet in IEA technology data | DiscountFactor
FOM | EUR/MW_e/y | Euro per installed MW electricity generation capacity, per year. | BP_Coal | 01 Coal CHP |  |  | 0.03
OtherMC | EUR/MWh_e | Euro per MWh electricity | BP_NatGas | 05 Gas turb. CC, Back-pressure
EFF_E | MWh_Out/MWh_Inp |  | BP_BioMass | 09b Wood Pellets, Large 50 degr
EFF_H | MWh_Out/MWh_Inp |  | WL | 20 Onshore turbines
FuelMix | Fuel MWh_Inp/MWh_out |  | PV | 22 Utility-scale PV
InvestCost | MEUR/MW_e | Million euro per MW electricity generating capacity. | WS1 | 21 Offshore turbines
E2H | MWh_E/MWh_H | Ratio of electricity to heat for CHP plants | WS2 | 21 Near shore turbines
CapFactor | #h/8760 | Average annual full-load hours /8760 | CD_Coal |  |  | Coal Fired Power Plants
InvestCost_A | EUR/MW_e/year | Yearly amortized investment costs with yearly discount factor 0,03 | CD_NatGas |  |  | Gas Fired Power Plants
effC | coefficient | Charge efficiency (storage) | CD_Nuclear |  |  | Nuclear Power
effD | coefficient | Discharge efficiency (storage) | BH_BioMass | 09b Wood Pellets HOP
selfDischarge | coefficient | Hourly rate of selfdischarge | BH_NatGas | 44 Natural Gas DH Only
|  |  | SH | 46 Solar District Heating
|  |  | HP | 40 Comp. hp, airsource 10 MW
|  |  | HS_LHWT |  | 141 Large hot water tank

## TechRaw_Storage_H
effC/tech | effC/effC | effD/tech | effD/effD | dailyLoss/tech | dailyLoss/dailyLoss | selfDischarge/tech | selfDischarge/selfDischarge | OtherMC/tech | OtherMC/OtherMC | FOM/tech | FOM/FOM | InvestCost/tech | InvestCost/InvestCost | TechLifetime/tech | TechLifetime/TechLifetime | InvestCost_A/tech | InvestCost_A/InvestCost_A
HS_LHWT | 1 | HS_LHWT | 1 | HS_LHWT | 0.2 | HS_LHWT | 0.0092546 | HS_LHWT | 0 | HS_LHWT | 8.6 | HS_LHWT | 0.0029648 | HS_LHWT | 40 | HS_LHWT | 124.5276
HS_PTES | 0.95 | HS_PTES | 0.95 | HS_PTES | 0.05 | HS_PTES | 0.0021349 | HS_PTES | 0 | HS_PTES | 3 | HS_PTES | 0.00057956 | HS_PTES | 20 | HS_PTES | 37.8206

## TechRaw_Storage_E
effC/tech | effC/effC | effD/tech | effD/effD | dailyLoss/tech | dailyLoss/dailyLoss | selfDischarge/tech | selfDischarge/selfDischarge | OtherMC/tech | OtherMC/OtherMC | FOM/tech | FOM/FOM | InvestCost/tech | InvestCost/InvestCost | TechLifetime/tech | TechLifetime/TechLifetime | InvestCost_A/tech | InvestCost_A/InvestCost_A
ES_CAES | 0.8 | ES_CAES | 0.69 | ES_CAES | 0 | ES_CAES | 0 | ES_CAES | 2.46 | ES_CAES | 2460 | ES_CAES | 0.65 | ES_CAES | 40 | ES_CAES | 27301.5006
ES_LIION

## TechRaw_ENS_E
FOM/tech | FOM/FOM | OtherMC/tech | OtherMC/OtherMC | EFF_E/tech | EFF_E/EFF_E | FuelMix/tech | FuelMix/BFt | FuelMix/FuelMix | InvestCost/tech | InvestCost/InvestCost | E2H/tech | E2H/E2H | CapFactor/tech | CapFactor/CapFactor | TechLifetime/tech | TechLifetime/TechLifetime | InvestCost_A/tech | InvestCost_A/InvestCost_A
BP_Coal | 31000 | BP_Coal | 2.9 | BP_Coal | 0.485 | BP_Coal | Coal | 2.0619 | BP_Coal | 1.9 | BP_Coal | 0.84 | WL | 0.38813 | BP_Coal | 25 | BP_Coal | 105934.9077
BP_NatGas | 29300 | BP_NatGas | 4.4 | BP_NatGas | 0.51 | BP_NatGas | NatGas | 1.9608 | BP_NatGas | 1.3 | BP_NatGas | 1.3 | PV | 0.15334 | BP_NatGas | 25 | BP_NatGas | 72481.779
BP_BioMass | 66000 | BP_BioMass | 1.7262 | BP_BioMass | 0.31679 | BP_BioMass | BioMass | 3.1566 | BP_BioMass | 2.3784 | BP_BioMass | 0.48902 | WS1 | 0.50228 | BP_BioMass | 25 | BP_BioMass | 132608.7206
WL | 14000 | WL | 1.5 | [5 empty] | WL | 1.1188 |  |  | WS2 | 0.46804 | WL | 27 | WL | 59267.0625
PV | 11300 | PV | 0 | [5 empty] | PV | 0.5625 |  |  |  |  | PV | 35 | PV | 25415.8753
WS1 | 50000 | WS1 | 5 | [5 empty] | WS1 | 2.1159 |  |  |  |  | WS1 | 27 | WS1 | 112092.0409
WS2 | 50000 | WS2 | 5 | [5 empty] | WS2 | 1.6999 |  |  |  |  | WS2 | 27 | WS2 | 90050.518

## TechRaw_ENS_H
FOM/tech | FOM/FOM | OtherMC/tech | OtherMC/OtherMC | EFF_H/tech | EFF_H/EFF_H | FuelMix/tech | FuelMix/BFt | FuelMix/FuelMix | InvestCost/tech | InvestCost/InvestCost | E2H/tech | E2H/E2H | CapFactor/tech | CapFactor/CapFactor | TechLifetime/tech | TechLifetime/TechLifetime | InvestCost_A/tech | InvestCost_A/InvestCost_A
BH_BioMass | 32700 | BH_BioMass | 1.9617 | BH_BioMass | 1.0117 | BH_BioMass | BioMass | 0.98842 | BH_BioMass | 0.71462 | HP | -0.28571 | SH | 0.15023 | BH_BioMass | 25 | BH_BioMass | 39843.5318
HP | 2000 | HP | 1.69 | HP | 3.5 | BH_NatGas | NatGas | 0.95238 | HP | 0.85625 |  |  |  |  | HP | 25 | HP | 47740.2208
BH_NatGas | 1950 | BH_NatGas | 1.1 | BH_NatGas | 1.05 |  |  |  | BH_NatGas | 0.06 |  |  |  |  | BH_NatGas | 25 | BH_NatGas | 3345.3129
SH | 60.8085 | SH | 0.21 | [5 empty] | SH | 0.30565 |  |  |  |  | SH | 30 | SH | 15140.0844

## TechRaw_IEA
FOM/tech | FOM/FOM | OtherMC/tech | OtherMC/OtherMC | EFF_E/tech | EFF_E/EFF_E | FuelMix/tech | FuelMix/BFt | FuelMix/FuelMix | InvestCost/tech | InvestCost/InvestCost | TechLifetime/tech | TechLifetime/TechLifetime | InvestCost_A/tech | InvestCost_A/InvestCost_A
CD_Coal | 88000 | CD_Coal | 2 | CD_Coal | 0.5 | CD_Coal | Coal | 2 | CD_Coal | 2 | CD_Coal | 25 | CD_Coal | 111510.4292
CD_NatGas | 30000 | CD_NatGas | 2 | CD_NatGas | 0.6 | CD_NatGas | NatGas | 1.6667 | CD_NatGas | 1 | CD_NatGas | 25 | CD_NatGas | 55755.2146
CD_Nuclear | 10000 | CD_Nuclear | 3 | CD_Nuclear | 0.5 | CD_Nuclear | Uranium | 2 | CD_Nuclear | 2.5 | CD_Nuclear | 30 | CD_Nuclear | 123833.1537